Position sensitive neutron detector
for MPD
Konstantin Mikhailov
for Ndet group
ITEP, Moscow

---
Outline
Introduction
Tests of prototype (in ITEP)
Efficiency of Ndet (Geant3 in MPD ROOT)
Feasibility of Σ+ and Σ- identification (MPD ROOT)
Conclusion & Next steps
K. Mikhailov. NDET for MPD. MPD meeting, Dubna, Dec 15 2009

---
Introduction
NDET list of authors (participants) from ITEP:
O. Denisovskaya, G. Dzyubenko, K. Mikhailov, P. Polozov,
M. Prokudin, G. Sharkov, A. Stavinsky,
V. Stolin, R. Tolochek, S. Tolstoukhov
Everyone is welcome !
Position sensitive neutron detector is for FLINT experiment
and
Also for MPD?
K. Mikhailov. NDET for MPD. MPD meeting, Dubna, Dec 15 2009

---
Motivation for NICA
1. Increase a list of measurable baryons with NDET (+):
2. AntiNeutron, antiΣ+, antiΣ- with Ndet
        (and possible help for other antibaryons)
3. New ratios: n/p, Σ/p, ...
4. 3-dimension phase diagram (add axis Nn-Np)
5. Femtoscopy nn, np, pp, Σp, Σn, ...
        Unknown low energy scattering parameters for ΣN
6. Study of Dense Cold Matter (our proposal for NICA MPD):
If we have not neutron detector, we will lose a half of information
n	p	Λ→pπ-	Σ+→nπ+	Σ-→nπ-	Σ0→Λγ	Ξ-→Λπ-	Ξ0→Λπ0	Ω→ΛK-
+	+	+	+	+		+		+
K. Mikhailov. NDET for MPD. MPD meeting, Dubna, Dec 15 2009

---
The prototype of Ndet
Plastic Scintillator 96 * 96 * 128 mm3
Fiber: KYRARAY,Y-11,d =1mm,
wavelength shift
MRS APD & Amplifier - CPTA(Golovin)
PMT for test EMI 9839A
Efficiency (estimate) 15%
Matrix for FLINT 6x6=36
Matrix for NICA(ring with r=155cm) about 3000 neutron detectors
K. Mikhailov. NDET for MPD. MPD meeting, Dubna, Dec 15 2009

---
Beam tests of prototype
DC1
Ratio (R=A4/A1) of amplitude as exp(-R/d)
DC2
Beam of
Protons
p=3GeV/c
Ndet
Preliminary
d (cm)
K. Mikhailov. NDET for MPD. MPD meeting, Dubna, Dec 15 2009
R=A4/A1

---
Beam test: Ndet space resolution
Preliminary
Preliminary resolution
of neutron detector
σx≈σy ≈ 2.6 cm
K. Mikhailov. NDET for MPD. MPD meeting, Dubna, Dec 15 2009

---
Beam test: Ndet time resolution
Very very preliminary!!!
Beam tests of time resolution of Ndet
are in progress.
We have a run right now.
Very preliminary:
Time resolution with PMT ~ 0.3nsec
Time Of Flight study
preliminary!!!
1ch=100psec
TDC (channels)
K. Mikhailov. NDET for MPD. MPD meeting, Dubna, Dec 15 2009

---
Ndet in MPD root
Ndet
First version of Ndet is in MPDROOT trunk/ndet
(ring of plastic with r=155cm and width 12.8cm, box 9.6x9.6cm Zlength~3m Matrix ~ 3000 detectors)
Test with MC central events AuAu at sqrt(s)3.8 GeV/c
K. Mikhailov. NDET for MPD. MPD meeting, Dubna, Dec 15 2009

---
First step to the efficiency
104 UrQMD AuAu central events sqrt(S)=3.8GeV/nucleon
MPD root with Geant3
Preliminary Ndet efficiency with primary neutrons
Comparison with DeMoN detector efficiency
K. Mikhailov. NDET for MPD. MPD meeting, Dubna, Dec 15 2009

---
Ndet efficiency
The efficiency of neutron
registration is about 13%
(length of Ndet is 128mm)
at En>100 MeV
Proton momentum > 500 MeV/c
We have to know Ndet efficiency
Starting from En>50MeV
Preliminary
K. Mikhailov. NDET for MPD. MPD meeting, Dubna, Dec 15 2009

---
DeMoN detector
Time resolution ~ 250 psec
Efficiency ~ 30-40%
K. Mikhailov. NDET for MPD. MPD meeting, Dubna, Dec 15 2009

---
E286 experiment
Eur. Phys. J. A18 (2003) p.645-651
K. Mikhailov. NDET for MPD. MPD meeting, Dubna, Dec 15 2009

---
Ndet and DeMoN
DEMON intrinsic efficiency
MENATE simulation
500 keVee threshold
Ndet*1.56 (GEANT3)
H(n,n)
All processes
C(n,n’3)
C(n,np)
C(n,p)
C(n,)
Neutron energy (MeV)
Present calculation roughly corresponds
to DeMoN efficiency
P. Désesquelles et al, NIM A 307, 366 (1991)
K. Mikhailov. NDET for MPD. MPD meeting, Dubna, Dec 15 2009
Efficiency

---
Diaphony and Cross-Talk
In a modular detection system the same neutron can interact in several modules.
If neutron is scattered in one module without being registered and later on is
detected in another one then the diaphony take place.
If the same neutron is registered in two or more detectors –
the cross-talk effect occurs.
Diaphony: distortion of the emission angle and the energy
Cross-talk: simulates of two or more neutrons in coincidence leading
to a strong spurious correlation. In case of one-particle distribution
the cross-talk effects are usually small, but in femtoscopy measurements
this effect is quite important and dangerous.
K. Mikhailov. NDET for MPD. MPD meeting, Dubna, Dec 15 2009

---
Cut Cross-Talks
E2
n
d1=d2
n
d1
E2
2
d2
cross-talk
1
n
d1
E1
E2
d1<d2
2
d2
E1<E2 : cut ΔEΔd>0
n
cross-talk
1
d1
E1
K. Mikhailov. NDET for MPD. MPD meeting, Dubna, Dec 15 2009
J.Pluta et al. NIM A411(1998) 417
cross-talk
1
2
d2
E1
E1>E2 : cut ΔEΔd<0

---
Ndet Cross-Talks
Z axis
Ndet 2
Z2
cross-talk
neutron
Z1
Ndet 1
Position sensitive neutron detector could be help to reject cross-talk
if we do the cut on coordinate?
K. Mikhailov. NDET for MPD. MPD meeting, Dubna, Dec 15 2009

---
Simple simulation of Σ
Simulation in MPD ROOT with Ndet package
Standard staistics AuAu sqrt(S) = 3.8 GeV (UrQMD 104 events)
Smearing due to Ndet tof resolution 0.3 ns
Smearing due to Ndet space resolution 0.3 cm
Suppose (for now) 100% neutron efficiency
Do not use tracking information for pions and
    do not smear pion momentum
K. Mikhailov. NDET for MPD. MPD meeting, Dubna, December 8, 2009

---
Ndet momentum resolution
Momentum resolution of neutron detector is
a combination of time resolution and
space resolution
Time resolution
β = L/TOF, where L distance from collision point
to Ndet
Suppose TOF smeared byGaus(TOF,σTOF) and
one can expect σTOF < 0.3ns (to be measured)
Smeared momentum due to time
Psmeared = mβsmeared/(1-βsmeared2)
Space resolution depends on
Angle Φsmeared =Gaus( Φ, σs/R)
and
 Zsmeared = Gaus( Z, σs),
        where σs = 3cm Ndet space resolution
        R is radius of Ndet ring (155 cm)
Ysmeared = cos(Φsmeared) R
Xsmeared = sin(Φsmeared) R
K. Mikhailov. NDET for MPD. MPD meeting, Dubna, December 8, 2009

---
Sigma selection criteria
Cut on neutron TOF: 20 ns (cut β<0.3 and reduce secondary
neutrons from MPD detector components)
Cut on pion vertex (distance from reaction vertex) > 0.1 cm
to select decays
Σ+ → nπ+(48%) cτ =2.404 cm
Σ- → nπ- cτ =4.434 cm
Background processes:
K0S →π+π- cτ =2.68 cm
Λ0 →pπ- cτ =7.89cm
Cut on vertex of reconstructed Σ, distance from collision point to
    Σ momentum line less than 0.1cm
Cut on pion momentum > 0.15 GeV/c (reduce combinatorial BG)
K. Mikhailov. NDET for MPD. MPD meeting, Dubna, December 8, 2009

---
Pion Vertex cut
Most pions come from
collision vertex
Cut on pion vertex > 0.1 cm
We cut about 60% of all pions
and lost a few percents of
pions from Sigma decay!
K. Mikhailov. NDET for MPD. MPD meeting, Dubna, Dec 14, 2009

---
Fake neutrons
NDET
K. Mikhailov. NDET for MPD. MPD meeting, Dubna, December 8, 2009

---
Vertex cut for Sigma
Real Σ comes from collision point (cp)
Fake Σ does NOT come from collision point (cp)
Cut on distance of closest approach (d)
pΣ
pΣ
n
πΣ
πΣ
nΣ
Σ
Σ
Collision point
d
Collision point
K. Mikhailov. NDET for MPD. MPD meeting, Dubna, Dec 14, 2009
`
`

---
Feasibility of Σ detection
104 AuAu central events at sqrt(SNN)=3.8 GeV
K. Mikhailov. NDET for MPD. MPD meeting, Dubna, Dec 14, 2009

---
Conclusions
1. First beam tests of Ndet is started in ITEP
2. Space resolution is about 2.5 cm
3. Ndet is in MPD ROOT
4. Preliminary estimation of Ndet efficiency with GEANT3 is done
5. First study of Sigma (+ and -) response in MDP is done
K. Mikhailov. NDET for MPD. MPD meeting, Dubna, December 8, 2009

---
Next Steps
1. Continue study of prototype:
   a) Beam tests (we have a run right now)
   b) Study of time resolution of Ndet
   b) Configuration of prototype
2. Continue simulations of Ndet in framework of MPD root
   a) More realistic simulations of sigma signal with tracking of charge particles
   b) Cross-talk, diaphony study
   c) Study of antineutron reconstruction
   d) Efficiency simulation with Geant4
K. Mikhailov. NDET for MPD. MPD meeting, Dubna, Dec 15 2009

---
Extra

---
Energy-TOF neutrons
Cut TOF>20ns
Cut TOF>20ns
Cut TOF>20ns
Cut TOF>20ns
K. Mikhailov. NDET for MPD. MPD meeting, Dubna, December 8, 2009

---
Primary and secondary momentum

---
       |η|<1 , Σ→ nπ
<En> ~ 250 MeV (730MeV/c β~0.6)
<Pπ> ~ 230 MeV/c
<PΣ> ~ 800 MeV/c

---
 Σ detection (800 psec)
104 AuAu central events at sqrt(SNN)=3.8 GeV
Time of flight resolution 800 psec
K. Mikhailov. NDET for MPD. MPD meeting, Dubna, Dec 14, 2009

---
Научная сессия-конференция секции ЯФ ОФН РАН «Физика фундаментальных взаимодействий».
Средняя множественность для центральных Au+Au событий (прицельный параметр b < 3 фм) вычисленная по URQMD

---
3d phase diagram
ИТЭФ, г. Москва, научная сессия-конференция секции ЯФ ОФН РАН «Физика фундаментальных взаимодействий» А.Н.Сисакян (ОИЯИ) NICA - российский проект тяжелоионного коллайдера
K. Mikhailov. NDET for MPD. MPD meeting, Dubna, Dec 15 2009

---
K.Mikhailov1, A. Stavinskiy1, J.C.Angelique2, B.Benoit3, E. de Goes Brennand3, G.Bizard2,
J.Colin2, G.Costa4, P.Desesquelles5, O.Dorvaux4, D.Durand2, B.Erazmus6, Yu.Grishuk1, F.Hanappe3, A.Kieliszek7, S.Kuleshov1, C.Lebrun6, R.Lednicky8, G.Leksin1, P.Leszczynski7, M.Marques2, Th.Materna3, K.Miller7, G.Papatheofanous3, T.Pawlak7, J.Pluta7, M.Przewlocki7,
A.Staranowicz7, L.Stuttge4, B.Tamain2, A.Vlasov1, L.Vorobyev1, K.Wosinska7
1Institute of Theoretical and Experimental Physics
2Laboratoire de Physique Corpusculaire,IN2P3,CNRS/ISMRA
3Universite Libre de Bruxelles,Belgium
4IRES,IN2P3-CNRS/Universite Louis Pasteur,France
5ISN,IN2P3/CNRS, et Univ.J.Fourier,France
6SUBATECH,UMR Univ.,EMN,IN2P3/CNRS, France
7Faculty of Physics,Warsaw University of Technology, Poland
8Institute of Physics ASCR, Czech Republic
        Эксперимент Е286
40Ar (77 МэВ/нуклон) + 58Ni → n, p, d, T, 3He, 4He + X
“Data on light-fragment correlations in 40Ar+58Ni at 77MeV/nucleon”
Eur. Phys. J. A18 (2003) p.645-651. Коллаборация Е286.

---
Схема одного модуля установки DEMON (вид сбоку)
Детектор DEMON совместно с детектором SYPEP

---
E286 experiment: particle identification

---
DEMON efficiency with Menate
DEMON intrinsic efficiency
MENATE simulation
Reactions :
H(n,n)
12C(n,n)
12C(n,n’)
12C(n,2n)
12C(n,)
12C(n,n’3)
12C(n,p)
12C(n,np)
500 keVee threshold
H(n,n)
All processes
C(n,n’3)
C(n,np)
C(n,p)
C(n,)
Neutron energy (MeV)
Simple
Reasonably accurate
Only cylindrical detectors with NE213 scintillator
P. Désesquelles et al, NIM A 307, 366 (1991)
From presentation :  « Neutron  detector developments at LPC Caen »
Efficiency

---
Discriminating plastic
« plastic 77 », Brooks et al, IRE Trans. Nucl. Sci., NS-7, 35 (1960)
No exotic compounds (similarities with NE213)
Light output ~ BC400
Clean synthesis process (CEA Saclay)
Test at LPC with digital ADC : 2 GHz, 12 bits, 2500 samples (1.25 s), low rate
Qtotal
Qslow
neutrons

neutrons

From presentation :  « Neutron  detector developments at LPC Caen »

---
Results of LEFastNeutron model
Brian Roeder LPC Caen 5/18/2007

---
Neutron detector: eta-Pt

---
TOF-Eloss(prim&seco part.)

---
Energy Loss(prim&seco part.)

---
TOF(prim&seco part.)